Pipette Performance Verification Form

| Customer Information: Contact Name:_________________ Department Name: _____________ Phone Number:________________ |  | Equipment Information: Name and Description:__________ Model:________________________ Serial Number:_ _____________ State and ID Number: ______________ |
| --- | --- | --- |
| Identification |  | Inspection completed |  |  |
| Model |  | Technician |  |  |
| Serial # |  | Serial # |  |  |
| Range |  | Date |  |  |
| Number of Channels |  |  |  |  |
| Test Conditions |  |  |  |  |
| Balance Serial # |  | Balance model |  |  |
| Sensitivity |  | Balance Calibration date |  |  |
| Correction Factor |  |  |  |  |
| Air Temperature |  |  |  |  |
| Barometric Temperature |  |  |  |  |
| Relative humidity |  |  |  |  |
| Control data |  | Test results |  |
| Calibration Date |  | % Error Test 1 (Maximum volume) |  |
| Technician |  | % Error Test 2 (Half capacity volume) |  |
|  |  | % Error Test 3 (Minimum volume) |  |
|  |  | Pass or Fail |  |
| Tests |  |  |  |
| Test 1 (Maximum volume) |  |  |  |
| Selected Volume |  | Expected Mass |  |
| Selected Volume X 10 |  | Recorded Mass |  |
| Dispense Repetitions | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  |  |
| Test 2 (Half capacity volume) |  |  |  |
| Selected Volume |  | Expected Mass |  |
| Selected Volume X 10 |  | Recorded Mass |  |
| Dispense Repetitions | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  |  |
| Test 3 (Minimum volume) |  |  |  |
| Selected Volume |  | Expected Mass |  |
| Selected Volume X 10 |  | Recorded Mass |  |
| Dispense Repetitions | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  |  |