## Sheet1
NBC2 mini BIOMAN :Downstream processing of mAbs in CHO cells Materials and Equipment list
Upstream - Generation of Conditioned Media - Ref MCCC Document No: UP9
Materials and Equipment | Vendor | Vendor #
CHO DP‐12 (ATCC® CRL‐12444™) | ATCC | ATCC CRL‐12444
DMEM media | Corning | 10‐013 CV
Super low IgG Hyclone FBS | Hyclone | SH3089802
Insulin‐Transferrin Selenium (ITS‐G)‐100X | Gibco | 41400‐045
Methotrexate (1000X) | MP Biomedicals | 199855
0.22 um sterile filter units ( 250, 500 mL) | Nalgene
Trypan Blue (0.4%) | Gibco | 15250‐061
Phosphate Buffered Saline | Corning Cellgro | 21-040-CV
Leupeptin hemisulfate | Fischer | BP2662-5
Aprotinin (from bovine lung) | Fischer | BP2503-10
PMSF-Phenylmethanesulfonyl fluoride | ACROS Organics | 215740100
100 mL glass spinner flask | Bellco glass | 196700100A
125 mL Corning® ProCulture Glass Spinner | Corning | 4500-125
Corning Slow Speed Stirrer | Corning | 440814
YSI Analyzer (glucose and lactate measurements) | YSI | 2900D
C02 Incubator - Fisher Scientific Isotemp | Fisher | Model 3531
Downstream Processing
TFF - Conditioned Media
Sodium Hydroxide ( 0.1N, 0.05N) | Fisher | S318-500
Sodium phosphate monobasic | Sigma | S5011-500G
Sodium phosphate dibasic heptahydrate | Sigma | S9390-500G
Millipore Labscale TFF System | Millipore-Sigma | XX42LSS11
Millipore Pellicon XL Cassette -Ultracel 30kDa | Millipore-Sigma | PXC030C50
Protein A Purification
Sodium phosphate monobasic
Sodium phosphate dibasic heptahydrate
Citric acid
Biologic LP System with Model 2110 Fraction Collector | Biorad | 7318304EDU
Protein A column | Biorad | 7324600
AKTA pure system | GE healthcare
HiTrap protein A HP, 1ml | GE healthcare | 170403-03
SDS- PAGE
Materials and Equipment | Vendor | Vendor #
Gels :NUPAGE 4-12% Bis-Tris Gels (1mmx10 well) | Thermo Fisher | NP0321
NuPAGE™ MOPS SDS Buffer Kit (for Bis-Tris Gels) | Thermo Fisher | NP0050
SDS PAGE Vertical Gel Box Fisher Biotech Model P82 | Fisher | FB-VE12-1
ELISA
Rabbit anti‐human IgG peroxidase conjugated Antibody | Thermo Fisher | PA1-28587
TMB- Stabilized Chromogen | Life Technologies | SB01
Polystyrene 96 well plates | Fisher Scientific | 12565501
Human IL‐8, IMAC purified without BSA (see alternative below) | Rockland | custom
IL-8aa CXCL8 Human | Sigma | SRP3098-25UG
Bovine serum albumin | Fisher Scientific | BP9703‐100
iMark™ Microplate Absorbance Reader | Biorad | 1681130EDU